## Assessment
|  | Asset type | Safety System
|  | Asset name | test_asset |  |  | Actors | Intent | Origin | Motivation | Privilege | Skill | Resources | Threat Strength | Threat Events
|  |  |  | Scenarios |  | Competitor | Malicious | Internal | High | Moderate | Low | Low | Low | EM spectrum DoS
|  | Impact Type | Level | Threat Level | Threat Event | Customer | Accidental | External | Medium | No Access or Public | Medium | Medium | Medium | System resources DoS
|  | Financial | 1 | Very High | Non authorized system modification | Employee |  |  | Low | Significant | High | High | High | Network DoS
|  | Regulatory and Compliance | 2 |  |  | Privileged Employee |  |  |  | Unprivileged | Very High | Very High | Very High | Wrongful system use
|  | Reputational | 3 |  |  | Hacker | [7 empty] | Non authorized system modification
|  | Operations and Infrastructure | 4 |  |  | Nation-state | [7 empty] | Non authorized use of credentials
|  | Safety and Environment | 4 |  |  | Organized Criminal | [7 empty] | Non authorized code execution
[6 empty] | Vendor | [7 empty] | System vulnerability exploitation
Covert channel communication
L | I | Ctrl ID | ASL | [10 empty] | Network traffic tampering
|  | ICS.IA.8 | 1 | [10 empty] | Destructive malware
x |  | ICS.IA.9 | 3 | a | [9 empty] | Information gathering malware
x |  | ICS.IA.10 | 2 | a | [9 empty] | Physical security breach
x |  | ICS.IA.11 | 4 | a | [9 empty] | Rogue device deployment
x |  | ICS.IA.12 | 4 | a | [9 empty] | Supply chain compromise
x |  | ICS.IA.13 | 4 | a | [9 empty] | Social engineering (logical)
x |  | ICS.IA.14 | 0 | a | [9 empty] | Social engineering (physical)
x | x | ICS.OB.1 | 3 | a | [9 empty] | Unauthorized information gathering
x |  | ICS.PE.1 | 2 | a
|  | ICS.PE.2 | 0
|  | ICS.PE.3 | 4
x | x | ICS.UC.1 | 1 | a
x | x | ICS.UC.3 | 2 | a
x |  | ICS.UC.4 | 1 | a
| x | ICS.UC.5 | 2 | a

## Controls
Standard | NIST Function | Type of Control | FR | FR Title | Control ID | Original Control ID | Control Title | Control Description | Likelihood | Impact | EM spectrum DoS | System resources DoS | Network DoS | Wrongful system use | Non authorized system modification | Non authorized use of credentials | Non authorized code execution | System vulnerability exploitation | Covert channel communication | Network traffic tampering | Destructive malware | Information gathering malware | Physical security breach | Rogue device deployment | Supply chain compromise | Social engineering (logical) | Social engineering (physical) | Unauthorized information gathering
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.1 | SR 1.1 | Human user identification and authentication | The control system shall provide the capability to identify and authenticate all human users. This capability shall enforce such identification and authentication on all interfaces which provide human user access to the control system to support segregation of duties and least privilege in accordance with applicable security policies and procedures. | TRUE | FALSE |  | x | x | x | x | x | x | x | x | x | x | x |  |  |  | x |  | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.2 | SR 1.2 | Software process and device identification and authentication | The control system shall provide the capability to identify and authenticate all software processes and devices. This capability shall enforce such identification and authentication on all interfaces which provide access to the control system to support least privilege in accordance with applicable security policies and procedures. | TRUE | FALSE | [6 empty] | x | x | x |  | x | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.3 | SR 1.3 | Account management | The control system shall provide the capability to support the management of all accounts by authorized users, including adding, activating, modifying, disabling and removing accounts. | TRUE | FALSE |  |  |  | x | x | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.4 | SR 1.4 | Identifier management | The control system shall provide the capability to support the management of identifiers by user, group, role or control system interface. | TRUE | FALSE |  |  |  | x | x |  |  |  | x | [8 empty] | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.5 | SR 1.5 | Authenticator management | The control system shall provide the capability to: a) initialize authenticator content; b) change all default authenticators upon control system installation; c) change/refresh all authenticators; and d) protect all authenticators from unauthorized disclosure and modification when stored and transmitted. | TRUE | FALSE |  | x | x | x | x |  |  |  | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.6 | SR 1.6 | Wireless access management | The control system shall provide the capability to identify and authenticate all users (humans, software processes or devices) engaged in wireless communication. | TRUE | FALSE |  |  |  | x | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.7 | SR 1.7 | Strength of password-based authentication | For control systems utilizing password-based authentication, the control system shall provide the capability to enforce configurable password strength based on minimum length and variety of character types. | TRUE | FALSE |  | x |  | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.8 | SR 1.8 | Public key infrastructure (PKI) certificates | Where PKI is utilized, the control system shall provide the capability to operate a PKI according to commonly accepted best practices or obtain public key certificates from an existing PKI. | TRUE | FALSE | x |  | x |  |  |  | x | x | x | x | x | x | [5 empty] | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.9 | SR 1.9 | Strength of public key authentication | For control systems utilizing public key authentication, the control system shall provide the capability to: a) validate certificates by checking the validity of the signature of a given certificate; b) validate certificates by constructing a certification path to an accepted CA or in the case of self-signed certificates by deploying leaf certificates to all hosts which communicate with the subject to which the certificate is issued; c) validate certificates by checking a given certificate‘s revocation status; d) establish user (human, software process or device) control of the corresponding private key; and e) map the authenticated identity to a user (human, software process or device). | TRUE | FALSE |  |  |  |  | x |  | x | x |  |  | x | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.10 | SR 1.10 | Authenticator feedback | The control system shall provide the capability to obscure feedback of authentication information during the authentication process. | TRUE | FALSE |  | x |  |  | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.11 | SR 1.11 | Unsuccessful login attempts | The control system shall provide the capability to enforce a limit of a configurable number of consecutive invalid access attempts by any user (human, software process or device) during a configurable time period. The control system shall provide the capability to deny access for a specified period of time or until unlocked by an administrator when this limit has been exceeded. For system accounts on behalf of which critical services or servers are run, the control system shall provide the capability to disallow interactive logons. | TRUE | FALSE |  |  |  | x | x
IEC 62443 | Protect | Deterrent | FR 1 | I & A Control | ICS.IA.12 | SR 1.12 | System use notification | The control system shall provide the capability to display a system use notification message before authenticating. The system use notification message shall be configurable by authorized personnel. | TRUE | FALSE |  |  |  | x | x |  |  |  | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.13 | SR 1.13 | Access via untrusted networks | The control system shall provide the capability to monitor and control all methods of access to the control system via untrusted networks. | TRUE | FALSE | x |  |  |  | x |  |  |  | x | x | [7 empty] | x
IEC 62443 | Protect | Preventive | FR 1 | I & A Control | ICS.IA.14 | SR 2.1 | Authorization enforcement | On all interfaces, the control system shall provide the capability to enforce authorizations assigned to all human users for controlling use of the control system to support segregation of duties and least privilege. | TRUE | FALSE |  |  |  | x | x |  | x | x | x | x | x | x
NIST SP 800-53 | Protect | Preventive | FR 11 | Physical & Env. Security | ICS.PE.1 | AT-1 | Physical access control | The organization: a. Enforces physical access authorizations to the facility where the ICS resides by; 1. Verifying individual access authorizations before granting access to the facility; and 2. Controlling ingress/egress to the facility using physical access control systems or guards b. Maintains physical access audit logs c. Provides security safeguards to control access to areas within the facility officially designated as publicly accessible; d. Escorts visitors and monitors visitor activity requiring visitor escorts and monitoring; e. Secures keys, combinations, and other physical access devices; | TRUE | FALSE |  |  |  |  | x |  | x | x |  |  | x | x
NIST SP 800-53 | Protect | Preventive | FR 11 | Physical & Env. Security | ICS.PE.2 | AT-2 | Monitoring physical access | The organization: a. Monitors physical access to the facility where the ICS resides to detect and respond to physical security incidents; b. Reviews physical access logs upon occurrence of potential indications of security events; and c. Coordinates results of reviews and investigations with the organizational incident response capability. | TRUE | FALSE |  |  |  | x |  |  | x |  |  |  | x | x
NIST SP 800-53 | Protect | Preventive | FR 11 | Physical & Env. Security | ICS.PE.3 | AT-3 | Visitor access records | The organization maintains visitor access records to the facility where the ICS resides. | TRUE | FALSE |  |  |  | x
NIST SP 800-53 | Identify | Preventive | FR 2 | Use control | ICS.UC.1 | AC-14 | Permitted Actions without Identification or Authentication | The organization: a. Identifies user actions that can be performed on the ICS without identification or authentication consistent with organizational missions/business functions; and b. Documents and provides supporting rationale in the security plan for the information system, user actions not requiring identification or authentication. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
NIST SP 800-53 | Detect | Detective | FR 2 | Use control | ICS.UC.3 | AU-6 | Audit review, analysis and reporting | The organization reviews and analyzes the security information generated by the ICS, such as audit records, for indications of inappropriate or unusual activity and reports findings to defined personnel or roles. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
NIST SP 800-53 | Protect | Preventive | FR 2 | Use control | ICS.UC.4 | CM-11 | User installed software | The organization establishes policies governing the installation of software by users in the ICS environment. | TRUE | FALSE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Respond | Recovery | FR 2 | Use control | ICS.UC.5 | SR 2.10 | Response to audit processing failures | The control system shall provide the capability to alert personnel and prevent the loss of essential services and functions in the event of an audit processing failure. The control system shall provide the capability to support appropriate actions in response to an audit processing failure according to commonly accepted industry practices and recommendations. | FALSE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Detect | Detective | FR 2 | Use control | ICS.UC.6 | SR 2.11 | Timestamps | The control system shall provide timestamps for use in audit record generation. | FALSE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Detect | Deterrent | FR 2 | Use control | ICS.UC.7 | SR 2.12 | Non-repudiation | The control system shall provide the capability to determine whether a given human user took a particular action. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Protect | Preventive | FR 2 | Use control | ICS.UC.8 | SR 2.2 | Wireless use control | The control system shall provide the capability to authorize, monitor and enforce usage restrictions for wireless connectivity to the control system according to commonly accepted security industry practices. | TRUE | FALSE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Protect | Preventive | FR 2 | Use control | ICS.UC.9 | SR 2.3 | Use control for portable and mobile devices | The control system shall provide the capability to automatically enforce configurable usage restrictions that include: a) preventing the use of portable and mobile devices; b) requiring context specific authorization; and c) restricting code and data transfer to/from portable and mobile devices. | TRUE | FALSE |  | x | x | x | x | x | x | x | x | x | x | x |  | x | x | x |  | x
IEC 62443 | Protect | Preventive | FR 2 | Use control | ICS.UC.10 | SR 2.4 | Mobile code | The control system shall provide the capability to enforce usage restrictions for mobile code technologies based on the potential to cause damage to the control system that include: a) preventing the execution of mobile code; b) requiring proper authentication and authorization for origin of the code; c) restricting mobile code transfer to/from the control system; and d) monitoring the use of mobile code. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Protect | Preventive | FR 2 | Use control | ICS.UC.11 | SR 2.5 | Session lock | The control system shall provide the capability to prevent further access by initiating a session lock after a configurable time period of inactivity or by manual initiation. The session lock shall remain in effect until the human user who owns the session or another authorized human user re-establishes access using appropriate identification and authentication procedures. | TRUE | FALSE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Protect | Preventive | FR 2 | Use control | ICS.UC.12 | SR 2.6 | Remote session termination | The control system shall provide the capability to terminate a remote session either automatically after a configurable time period of inactivity or manually by the user who initiated the session. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Protect | Preventive | FR 2 | Use control | ICS.UC.13 | SR 2.7 | Concurrent session control | The control system shall provide the capability to limit the number of concurrent sessions per interface for any given user (human, software process or device) to a configurable number of sessions. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Detect | Detective | FR 2 | Use control | ICS.UC.14 | SR 2.8 | Auditable events | The control system shall provide the capability to generate audit records relevant to security for the following categories: access control, request errors, operating system events, control system events, backup and restore events, configuration changes, potential reconnaissance activity and audit log events. Individual audit records shall include the timestamp, source (originating device, software process or human user account), category, type, event ID and event result. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Detect | Detective | FR 2 | Use control | ICS.UC.15 | SR 2.9 | Audit storage capacity | The control system shall allocate sufficient audit record storage capacity according to commonly recognized recommendations for log management and system configuration. The control system shall provide auditing mechanisms to reduce the likelihood of such capacity being exceeded. | FALSE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | [5 empty] | x
IEC 62443 | Protect | Preventive | FR 3 | System integrity | ICS.SI.1 | SR 3.1 | Communication integrity | The control system shall provide the capability to protect the integrity of transmitted information. | TRUE | TRUE |  | x | x | x | x | [5 empty] | x
IEC 62443 | Protect | Preventive | FR 3 | System integrity | ICS.SI.2 | SR 3.2 | Malicious code protection | The control system shall provide the capability to employ protection mechanisms to prevent, detect, report and mitigate the effects of malicious code or unauthorized software. The control system shall provide the capability to update the protection mechanisms. | TRUE | TRUE |  | x | x
IEC 62443 | Protect | Preventive | FR 3 | System integrity | ICS.SI.3 | SR 3.3 | Security functionality verification | The control system shall provide the capability to support verification of the intended operation of security functions and report when anomalies are discovered during FAT, SAT and scheduled maintenance. These security functions shall include all those necessary to support the security requirements specified in this standard. | TRUE | TRUE |  |  |  |  | x |  | x |  | x | x | x | [6 empty] | x
IEC 62443 | Protect | Preventive | FR 3 | System integrity | ICS.SI.4 | SR 3.4 | Software and information integrity | The control system shall provide the capability to detect, record, report and protect against unauthorized changes to software and information at rest. | TRUE | TRUE |  |  |  | x | x |  | x | x | x |  | x | x
IEC 62443 | Protect | Preventive | FR 3 | System integrity | ICS.SI.5 | SR 3.5 | Input validation | The control system shall validate the syntax and content of any input which is used as an industrial process control input or input that directly impacts the action of the control system. | TRUE | FALSE |  |  | x |  | x | [8 empty] | x | x
IEC 62443 | Recover | Recovery | FR 3 | System integrity | ICS.SI.6 | SR 3.6 | Deterministic output | The control system shall provide the capability to set outputs to a predetermined state if normal operation cannot be maintained as a result of an attack. | FALSE | TRUE | x |  |  | x | x | x |  |  |  |  | x | x | x | x | x |  | x | x
IEC 62443 | Recover | Recovery | FR 3 | System integrity | ICS.SI.7 | SR 3.7 | Error handling | The control system shall identify and handle error conditions in a manner such that effective remediation can occur. This shall be done in a manner which does not provide information that could be exploited by adversaries to attack the IACS unless revealing this information is necessary for the timely troubleshooting of problems. | FALSE | TRUE | x |  |  | x | x | x |  |  |  |  | x | x | x | x | x |  | x | x
IEC 62443 | Protect | Preventive | FR 3 | System integrity | ICS.SI.8 | SR 3.8 | Session integrity | The control system shall provide the capability to protect the integrity of sessions. The control system shall reject any usage of invalid session IDs. | TRUE | FALSE | x |  |  | x | x | x |  |  |  |  | x | x | x | x | x |  | x | x
IEC 62443 | Protect | Preventive | FR 3 | System integrity | ICS.SI.9 | SR 3.9 | Protection of audit information | The control system shall protect audit information and audit tools (if present) from unauthorized access, modification and deletion. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Protect | Preventive | FR 4 | Data confidentiality | ICS.DC.1 | SR 4.1 | Information confidentiality | The control system shall provide the capability to protect the confidentiality of information for which explicit read authorization is supported, whether at rest or in transit. | TRUE | TRUE |  |  |  |  | x | x | [7 empty] | x |  |  |  | x
IEC 62443 | Protect | Preventive | FR 4 | Data confidentiality | ICS.DC.2 | SR 4.2 | Information persistence | The control system shall provide the capability to purge all information for which explicit read authorization is supported from components to be released from active service and/or decommissioned. | TRUE | FALSE |  |  |  |  | x | x |  |  |  | x |  | x |  | x |  |  |  | x
IEC 62443 | Protect | Preventive | FR 4 | Data confidentiality | ICS.DC.3 | SR 4.3 | Use of cryptography | If cryptography is required, the control system shall use cryptographic algorithms, key sizes and mechanisms for key establishment and management according to commonly accepted security industry practices and recommendations. | TRUE | FALSE |  |  |  |  | x | x | [5 empty] | x | [5 empty] | x
IEC 62443 | Protect | Preventive | FR 5 | Restricted data flow | ICS.RF.1 | SR 5.1 | Network segmentation | The control system shall provide the capability to logically segment control system networks from non-control system networks and to logically segment critical control system networks from other control system networks. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
IEC 62443 | Protect | Preventive | FR 5 | Restricted data flow | ICS.RF.2 | SR 5.2 | Zone boundary protection | The control system shall provide the capability to monitor and control communications at zone boundaries to enforce the compartmentalization defined in the risk -based zones and conduits model. | TRUE | TRUE | x | x | x
IEC 62443 | Protect | Preventive | FR 5 | Restricted data flow | ICS.RF.3 | SR 5.3 | General purpose person-to-person communication restrictions | The control system shall provide the capability to prevent general purpose person-to-person messages from being received from users or systems external to the control system. | TRUE | FALSE |  | x | x
IEC 62443 | Protect | Preventive | FR 5 | Restricted data flow | ICS.RF.4 | SR 5.4 | Application partitioning | The control system shall provide the capability to support partitioning of data, applications and services based on criticality to facilitate implementing a zoning model. | TRUE | TRUE |  |  |  | x | x |  | x | x |  |  | x
IEC 62443 | Detect | Detective | FR 6 | Timely response to events | ICS.TR.1 | SR 6.1 | Audit log accessibility | The control system shall provide the capability for authorized humans and/or tools to access audit logs on a read-only basis. | FALSE | TRUE | [12 empty] | x | x | x |  | x | x
IEC 62443 | Detect | Detective | FR 6 | Timely response to events | ICS.TR.2 | SR 6.2 | Continuous monitoring | The control system shall provide the capability to continuously monitor all security mechanism performance using commonly accepted security industry practices and recommendations to detect, characterize and report security breaches in a timely manner. | FALSE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
NIST SP 800-53 | Respond | Detective | FR 6 | Timely response to events | ICS.TR.3 | AU-11 | Audit record retention | The organization retains audit records for a defined time period consistent with records retention policy to provide support for after-the-fact investigations of security incidents and to meet regulatory and organizational information retention requirements. | TRUE | TRUE | [7 empty] | x |  |  |  | x |  |  |  | x | x | x
IEC 62443 | Protect | Preventive | FR 7 | Resource availability | ICS.RA.1 | SR 7.1 | Denial of service protection | The control system shall provide the capability to operate in a degraded mode during a DoS event. | TRUE | TRUE |  |  |  |  | x | x |  |  | x | x |  | x |  | x |  |  |  | x
IEC 62443 | Protect | Preventive | FR 7 | Resource availability | ICS.RA.2 | SR 7.2 | Resource management | The control system shall provide the capability to limit the use of resources by security functions to prevent resource exhaustion. | FALSE | TRUE |  |  | x |  |  |  | x | x | x |  |  |  |  | x
IEC 62443 | Recover | Recovery | FR 7 | Resource availability | ICS.RA.3 | SR 7.3 | Control system backup | The identity and location of critical files and the ability to conduct backups of user -level and system-level information (including system state information) shall be supported by the control system without affecting normal plant operations. | FALSE | TRUE | x |  | x | x | x |  |  |  | x | x
IEC 62443 | Recover | Recovery | FR 7 | Resource availability | ICS.RA.4 | SR 7.4 | Control system recovery and reconstitution | The control system shall provide the capability to recover and reconstitute to a known secure state after a disruption or failure. | FALSE | TRUE |  |  |  | x |  |  | x | x | x |  | x | x | [5 empty] | x
IEC 62443 | Recover | Recovery | FR 7 | Resource availability | ICS.RA.5 | SR 7.5 | Emergency power | The control system shall provide the capability to switch to and from an emergency power supply without affecting the existing security state or a documented degraded mode. | FALSE | TRUE |  | x |  |  | x |  | x |  |  |  | x | x
IEC 62443 | Protect | Preventive | FR 7 | Resource availability | ICS.RA.6 | SR 7.6 | Network and security configuration settings | The control system shall provide the capability to be configured according to recommended network and security configurations as described in guidelines provided by the control system supplier. The control system shall provide an interface to the currently deployed network and security configuration settings. | TRUE | FALSE |  |  |  |  | x | [5 empty] | x | [6 empty] | x
IEC 62443 | Protect | Preventive | FR 7 | Resource availability | ICS.RA.7 | SR 7.7 | Least functionality | The control system shall provide the capability to specifically prohibit and/or restrict the use of unnecessary functions, ports, protocols and/or services. | TRUE | FALSE |  | x | x | x | x |  | x | x | x |  | x
IEC 62443 | Identify | Detective | FR 7 | Resource availability | ICS.RA.8 | SR 7.8 | Control system component inventory | The control system shall provide the capability to report the current list of installed components and their associated properties. | TRUE | TRUE | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x
NERC-CIP | Protect | Preventive | FR 9 | Governance | ICS.GO.10 | CIP-007-5_R2 | Security patch management | The organization has in place a patch management process for tracking, evaluating, and installing cyber security patches for applicable in the control system and the underlying infrastructure including hardware (e.g. switches firmware) and software (e.g. OS, databases). The tracking portion shall include the identification of a source or sources that the organization tracks for the release of cyber security patches for applicable Cyber Assets that are updateable and for which a patching source exists. | TRUE | TRUE |  | x |  |  | x | x | [9 empty] | x

## Aux
Control effectiveness
Gap | Coef | Threat Level after | Impact after |  | TSL | # applicable controls | Eff ctrls 1 | Eff 1 | Eff 1 pct | Eff ctrls 2 | Eff 2 | Eff 2 pct
#REF! | #REF! |  |  | Financial | 1 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
#REF! | #REF! |  |  | Regulatory and Compliance | 2 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
#REF! | #REF! |  |  | Reputational | 3 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
#REF! | #REF! |  |  | Operations and Infrastructure | 4 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
#REF! | #REF! |  |  | Safety and Environment | 4 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!
#REF! | #REF!

## Results
Threat | Threat Level | Asset Id | Asset Name | Impact Type | Impact Level | Standard | NIST Function | Type of Control | FR Title | Ctrl Id | Ctrl Name | ASL | Likelihood | Impact | Gap | Coef | Threat Level after | Impact after
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.10 | Authenticator feedback | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.11 | Unsuccessful login attempts | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | IEC 62443 | Protect | Deterrent | I & A Control | ICS.IA.12 | System use notification | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.13 | Access via untrusted networks | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.14 | Authorization enforcement | 0 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.9 | Strength of public key authentication | 3 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | NIST SP 800-53 | Protect | Preventive | Physical & Env. Security | ICS.PE.1 | Physical access control | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | NIST SP 800-53 | Identify | Preventive | Use control | ICS.UC.1 | Permitted Actions without Identification or Authentication | 1 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | NIST SP 800-53 | Detect | Detective | Use control | ICS.UC.3 | Audit review, analysis and reporting | 2 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | NIST SP 800-53 | Protect | Preventive | Use control | ICS.UC.4 | User installed software | 1 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Financial | 1 | IEC 62443 | Respond | Recovery | Use control | ICS.UC.5 | Response to audit processing failures | 2 | 0 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.10 | Authenticator feedback | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.11 | Unsuccessful login attempts | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | IEC 62443 | Protect | Deterrent | I & A Control | ICS.IA.12 | System use notification | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.13 | Access via untrusted networks | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.14 | Authorization enforcement | 0 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.9 | Strength of public key authentication | 3 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | NIST SP 800-53 | Protect | Preventive | Physical & Env. Security | ICS.PE.1 | Physical access control | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | NIST SP 800-53 | Identify | Preventive | Use control | ICS.UC.1 | Permitted Actions without Identification or Authentication | 1 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | NIST SP 800-53 | Detect | Detective | Use control | ICS.UC.3 | Audit review, analysis and reporting | 2 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | NIST SP 800-53 | Protect | Preventive | Use control | ICS.UC.4 | User installed software | 1 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Regulatory and Compliance | 2 | IEC 62443 | Respond | Recovery | Use control | ICS.UC.5 | Response to audit processing failures | 2 | 0 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.10 | Authenticator feedback | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.11 | Unsuccessful login attempts | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | IEC 62443 | Protect | Deterrent | I & A Control | ICS.IA.12 | System use notification | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.13 | Access via untrusted networks | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.14 | Authorization enforcement | 0 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.9 | Strength of public key authentication | 3 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | NIST SP 800-53 | Protect | Preventive | Physical & Env. Security | ICS.PE.1 | Physical access control | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | NIST SP 800-53 | Identify | Preventive | Use control | ICS.UC.1 | Permitted Actions without Identification or Authentication | 1 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | NIST SP 800-53 | Detect | Detective | Use control | ICS.UC.3 | Audit review, analysis and reporting | 2 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | NIST SP 800-53 | Protect | Preventive | Use control | ICS.UC.4 | User installed software | 1 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Reputational | 3 | IEC 62443 | Respond | Recovery | Use control | ICS.UC.5 | Response to audit processing failures | 2 | 0 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.10 | Authenticator feedback | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.11 | Unsuccessful login attempts | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | IEC 62443 | Protect | Deterrent | I & A Control | ICS.IA.12 | System use notification | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.13 | Access via untrusted networks | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.14 | Authorization enforcement | 0 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.9 | Strength of public key authentication | 3 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | NIST SP 800-53 | Protect | Preventive | Physical & Env. Security | ICS.PE.1 | Physical access control | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | NIST SP 800-53 | Identify | Preventive | Use control | ICS.UC.1 | Permitted Actions without Identification or Authentication | 1 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | NIST SP 800-53 | Detect | Detective | Use control | ICS.UC.3 | Audit review, analysis and reporting | 2 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | NIST SP 800-53 | Protect | Preventive | Use control | ICS.UC.4 | User installed software | 1 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Operations and Infrastructure | 4 | IEC 62443 | Respond | Recovery | Use control | ICS.UC.5 | Response to audit processing failures | 2 | 0 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.10 | Authenticator feedback | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.11 | Unsuccessful login attempts | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | IEC 62443 | Protect | Deterrent | I & A Control | ICS.IA.12 | System use notification | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.13 | Access via untrusted networks | 4 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.14 | Authorization enforcement | 0 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | IEC 62443 | Protect | Preventive | I & A Control | ICS.IA.9 | Strength of public key authentication | 3 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | NIST SP 800-53 | Protect | Preventive | Physical & Env. Security | ICS.PE.1 | Physical access control | 2 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | NIST SP 800-53 | Identify | Preventive | Use control | ICS.UC.1 | Permitted Actions without Identification or Authentication | 1 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | NIST SP 800-53 | Detect | Detective | Use control | ICS.UC.3 | Audit review, analysis and reporting | 2 | 1 | 1 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | NIST SP 800-53 | Protect | Preventive | Use control | ICS.UC.4 | User installed software | 1 | 1 | 0 | #REF! | #REF!
Non authorized system modification | 4 | 234 | test_asset | Safety and Environment | 4 | IEC 62443 | Respond | Recovery | Use control | ICS.UC.5 | Response to audit processing failures | 2 | 0 | 1 | #REF! | #REF!